## Slide 1: Streamer breakdown mechanisms in air-gaps

## Slide 2: Corona discharges

## Slide 3: Negative and positive corona mechanisms

## Slide 4
Trichel pulses
+ve corona

## Slide 5: Case of localised avalanches in non-uniform fields (corona)

## Slide 6
Streamer breakdown mechanism
Space charge distorted electric field
Primary avalanche (108 electrons)
Satellite avalanches
Photo ionisation
-

## Slide 7: Conditions for streamer breakdown
The streamer breakdown avalanches become self sustaining if within the gap the following conditions are fulfilled:
108 electrons in the avalanche head or
The e-field due to space charge on avalanche head equals background e-field
i.e. or
It is important to know that is a function of and and therefore for a given gap, if and are known at every point the minimum voltage across the gap that will cause breakdown can be calculated from 1st principles

## Slide 8: Auto-propagation of streamer avalanches

## Slide 9
Streamer breakdown mechanism
-
-
Anode directed streamers (Raether)
Cathode directed streamers (Loeb & Meek)
Primary avalanche

## Slide 10: Gap breakdown
Cathode directed streamers (Loeb & Meek)
Anode directed streamers (Raether)
Streamer propagates to breakdown in typical speeds of 0.1-10 meters per µs!
-

## Slide 11
Where is d is in (mm) and (Ei) is in (kV/mm) and P in (bars)

## Slide 12: Exercise problem

## Slide 13: Factors influencing the breakdown voltage of an air gap
The gap size
The electrode geometry (and thus the electric field profile)
The air density (vis-a-vis altitude if exposed to the atmosphere), humidity and temperature
Type of voltage i.e. whether impulse (SI, LI), DC or AC.

## Slide 14: Other deterministic formulae for gap breakdown voltage calculation
In short (d 1 m) non-uniform electric field gaps
(kV)
In long gaps (d 2 m) under switching voltage impulses:
(kV)
The Calva method for positive DC breakdown voltage of an air gap of d (m)
(kV)

## Slide 15: Leader transition in large gaps
In larger gaps (2m ) the current in the stem of the streamer becomes high ( 5000)
Temp is sufficient to cause thermal plasma with increased channel conductivity
Can carry a current of 1 A at e-field of 0.1kV/mm
Propagates over longer distances than streamer but with lower velocities
Path highly unpredictable

## Slide 17
TOWNSEND | STREAMER
Low pd, examples: In general p.d. ≤ 10 atm.mm Internal discharges in solid material: air at 1 Bar in cavities of 10μm to several mms Gas at few mBars and large electrode distances in gas discharge tubes | High pd. Examples: In general p.d. ≥ 10 atm.mm Gas insulated equipment at several Bars and more than a few mms Atmospheric pressure and gaps over some cms
An initiating electron is required: Mechanism Accelerated electrons ionize gas atoms and cause electron avalanches Feedback by ions (and photons) striking the cathode, ϒ mechanism | An initiating electron is required: Mechanism Accelerated electrons ionize gas atoms and cause electron avalanches Feedback by photons hitting the nearest gas atoms
Cathode material: Affects the ϒ mechanism, thus the breakdown value | Cathode material: No effect
Shape: Diffuse light filling the available space | Shape: Filamentary bright channels, tortuous and branching at greater distances
Temperature: Low: a gas discharge tube can be touched by hand | Temperature: High: 5000 to 20000 0C i.e. the temperature of the surface of the sun.
Time to breakdown: Order of μs | Time to breakdown: Order of 1 to 100 ns
Comparison of Townsend and Streamer gas breakdown characteristics
Note: This table has been obtained from the text book, ‘Industrial High Voltage’ by F.H Kreuger, Delft University Press 1991